## Slide 1: Safety Moment
Asphyxiation hazards
This Photo by Unknown Author is licensed under CC BY-SA

## Slide 2: Safety Moment
1 L of N2 (l) = 0.808 kg = 28.8 mol  PV = nRT  ~ 700 L gas!

## Slide 3
Referring to the deceased, Professor Hastie said: "This was a person who has worked daily with liquid nitrogen for years.”
Safety Moment
…Ake-Salvacion was found crumpled at the bottom of the machine about the size of a phone booth. [She] had texted a friend about a possible nitrogen leak in the machine…
"Breathing air with this low level of oxygen can quickly result in unconsciousness and then death," the coroner's office said.
https://www.telegraph.co.uk/news/worldnews/northamerica/usa/11987722/Coroner-finds-woman-who-died-trapped-inside-cryotherapy-chamber-suffocated.html
https://www.nbcnews.com/news/us-news/nevada-spa-worker-suffocated-cryochamber-coroner-rules-n461111
http://news.bbc.co.uk/2/hi/uk_news/scotland/484813.stm

## Slide 4: Safety Moment
Dangers
Most gases are colorless and odorless
Make sure small spaces are well ventilated
Most people become unconscious at <10% O2
Never take an elevator with full tanks of condensed gases.
Never transport compressed cylinders without caps.
Don’t assume other know what they are doing